## BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: [Invitation to Bid No.]
BILL OF QUANTITIES
Item No. | Work Description | Materials, supplies, etc. |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost
[6 empty] | Materials, Labor, & Equipment | Overhead, Contingencies, Miscellaneous, & Profit
|  | Quantity | Unit | Quantity | Unit
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | 1 | lot
1.2 | Construction Occupational Safety & Health (New Normal) |  |  | 1 | lot
1.3 | Temporary facilities, Billboard and Barricade |  |  | 1 | lot
Sub-Total
2 | Dismantling, Hauling, Disposal, and Repair Works
2.1 | Dismantling, Hauling and Repair Works of Old set of Panel Boards and Cable pulling of feeder lines |  |  | 1 | lot
3 | Electrical Works
3.1 | Installation of New Unitized Panel Boards and feeder lines |  |  | 1 | lot
3.1.1. | Sub Main Distribuition Panel - Ground floor Main: 700AT MCCB, 3 Pole, 230V Branches: 1 - 225AT MCB, 3 Pole, 230 V 3 - 150AT MCB, 3 Pole, 230 V 3 - 100AT MCB, 3 Pole, 230 V 1 - 70AT MCB, 3 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.2. | PB1 - Ground floor Main: 100AT MCCB, 3 Pole, 230V Branches: 8 - 32AT MCB, 2 Pole, 230V 2 - 20AT MCB, 2 Pole, 230V Spare: 2 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.3. | PB2 - Ground floor Main: 225AT MCCB, 3 Pole, 230V Branches: 6 - 50AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.4. | PB3 - Ground floor Main: 100AT MCCB, 3 Pole, 230V Branches: 1 - 50AT MCB, 2 Pole, 230V 7 - 32AT MCB, 2 Pole, 230V 4 - 20AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.5. | PB4 - Second floor Main: 150AT MCCB, 3 Pole, 230V Branches: 1 - 50AT MCB, 2 Pole, 230V 9 - 32AT MCB, 2 Pole, 230V 4 - 20AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.6. | PB5 - Second floor Main: 100AT MCCB, 3 Pole, 230V Branches: 1 - 50AT MCB, 2 Pole, 230V 7 - 32AT MCB, 2 Pole, 230V 4 - 20AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.7 | PB6 - Third Floor Main: 150AT MCCB, 3 Pole, 230V Branches: 8 - 32AT MCB, 2 Pole, 230 V 6 - 20AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.8. | PB7 - Third Floor Main: 150AT MCCB, 3 Pole, 230V Branches: 9 - 32AT MCB, 2 Pole, 230V 5 - 20AT MCB, 2 Pole, 230V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
3.1.9. | 200mm² THHN/THWN Cu. Wire | 60 | m
3.1.10. | 100mm² THHN/THWN Cu. Wire | 25 | m
3.1.11. | 80mm² THHN/THWN Cu. Wire | 170 | m
3.1.12. | 60mm² THHN/THWN Cu. Wire | 75 | m
3.1.13. | 60mm² THHN/THWN Cu. Wire - GREEN | 25 | m
3.1.14. | 22mm² THHN/THWN Cu. Wire - GREEN | 60 | m
3.1.16. | 8.0mm² THHN/THWN Cu. Wire - GREEN | 25 | m
3.1.17. | Consumable Hardwares (electrical tape, rubber tape, G.I. wire, etc.) | 1 | lot
3.2 | Rewiring of Main Feeder Line |  |  | 1 | lot
3.2.1. | 200mm² THHN/THWN Cu. Wire - RED | 120 | m
3.2.2. | 200mm² THHN/THWN Cu. Wire - YELLOW | 120 | m
3.2.3. | 200mm² THHN/THWN Cu. Wire - BLUE | 120 | m
3.2.4. | Heavy Duty Three Spool Secondary Rack | 2 | set
3.2.5. | 1000 MCM Solderless Connector | 6 | set
3.2.6. | 3" Φ Entrance Cap | 2 | set
3.2.7. | Consumable Hardware (electrical tape, rubber tape, PVC, G.I. wire, scaffoldings rental, etc.) | 1 | lot
| Total Bid Price | (State total amount of Bid in words) | [7 empty] | (Total amount in figres)
[Signature]
[Name of Authorized Signatory]
[Position/Title of Authorized Signatory]